## KVS
DRINKING FOUNTAIN LOCATIONS DECEMBER 2021
No. | Bldg Code | Building/Floor | Location | Identified As Franke G20109N Or Like (YES/NO)
1 | AD04 | Aberconway Ground Floor | Library corridor North end L01E(A,G)(behind Male W.C. Room No. A16) | YES
2 | AD04 | Aberconway Ground Floor | Male WC A16 | YES
3 | AD04 | Aberconway Ground Floor | Female W.C. A12 | NO
4 | AD09 | ASSL Ground Floor | Next door to 0.08 | YES
5 | AR04 | Sir Martin Evans East Ground Floor | Outside E/0.17 | YES
6 | AR04 | Sir Martin Evans Central Ground Floor | Outside C/0.05 | YES
7 | AR04 | Sir Martin Evans West Ground Floor foyer | Outside W/0.04 | YES
8 | AB01 | Bute Lower Ground Floor | Male W.C. -1.12(a) | YES
9 | AB02 | Bute 1st Floor | Outside Of Library | YES
10 | AB03 | Bute 2nd Floor | Opposite male W.C. 2.50 | FOUNTAIN REMOVED. TAP ONLY
11 | AL04 | Cubric Ground Floor | Reception area | NO
12 | AW92 | Cochrane Ground Floor | Around corner from 0.29 | YES
13 | AW92 | Cochrane 1st Floor | Opposite female W.C. in hallway | YES
14 | AO06 | Park Place MLANG Ground Floor | Ground Floor Reception Area | YES
15 | AB02 | Glamorgan Ground Floor | Room 0.11 | NO
16 | AB03 | Glamorgan Ground Floor | Student Hub 0.02 | NO
17 | AB04 | Glamorgan Ground Floor | Outside 0.60 | NO
18 | AB05 | Glamorgan First Floor | Near 1.01 | YES
19 | AB06 | Glamorgan 2nd Floor | Opposite Room 2.20 | NO
20 | AL03 | Hadyn Ellis Ground Floor | Between Toilets 0.29 & 0.30 | YES
21 | AL03 | Hadyn Ellis 1st Floor | Kitchen area | NO
22 | AL03 | Hadyn Ellis 2nd Floor | Kitchen area | NO
23 | AL03 | Hadyn Ellis 3rd Floor | Kitchen area | NO
24 | AD06 | Julian Hodge Second Floor | Outside 2.03 WC | YES
25 | AD06 | Julian Hodge Refectory Ground Floor | Tap on wall ground floor restaurant area (0.05) | NO
26 | AK01 | Main Building Ground Floor | North Corridor next to 0.91 | YES
27 | AK01 | Main building First floor | opposite council chamber by library | YES
28 | AK01 | Main Building Ground Floor | 0.45 next to sink in PVC suite | YES
29 | AL02 | Optometry Ground Floor | Adjacent to lift outside cleaner's cupboard (0.08a) | YES
30 | AL02 | Optometry 1st Floor | School Office at top of front stairwell 1.02 | YES
31 | AN02 | Queens West Forum | Near Plant Room W/1.13A | YES
32 | AN07 | Queens West Extension Ground Floor | 0.03 | NO
33 | AN07 | Queens West Extension 1st Floor | 1.03 | NO
34 | AN07 | Queens West Extension 2nd Floor | 2.03 | NO
35 | AN07 | Queens West Extension 3rd Floor | 3.01 | NO
36 | AN05 | Queens South 2nd Floor | S/2.29 | NO
37 | AN01 | Trevithick Ground Floor | On wall to right of shop | YES
38 | AO20 | Fitness Centre, Park Place 2nd Floor | 2nd Floor landing | NO
39 | AU02-03 | Maths & Education Ground Floor | E0.17, E0.19 & Near 0.42 | YES (X1 ONLY) Near M0.42.
40 | AU49 | Senghenydd Rd Fitness & Squash Centre Ground Floor | Ground Floor (Near 0.01A) | YES
41 | AN10 | McKenzieHouse 11th Floor | 11th Floor | YES
42 | AN10 | McKenzie House 3rd Floor | Refectory Area Next to sink | YES
43 | AD07 | John Percival Building Ground Floor | Ground Floor refectory | YES
44 | AD07 | John Percival Building Ground Floor | Ground Floor extension corridor | YES
45 | AS01 | Redwood ground Floor | Outside 0.03 Disabled Toilet | YES
46 | AU53 | Abacws Building 2nd Floor | South corridor
47 | AU53 | Abacws Building 2nd Floor | North corridor
48 | AU53 | Abacws Building 3rd Floor | South corridor
49 | AU53 | Abacws Building 3rd Floor | North corridor
50 | AU53 | Abacws Building 4th Floor | South corridor
51 | AU53 | Abacws Building 5th Floor | North corridor
52 | AO41 | Centre for Student Life Ground Floor | North end of building
53 | AO41 | Centre for Student Life 1st Floor | North end of building
54 | AO41 | Centre for Student Life 2nd Floor | North end of building
55 | AO41 | Centre for Student Life 3rd Floor | North end of building
56 | AO41 | Centre for Student Life 4th Floor | North end of building
https://www.franke.com/gb/en/ws/products/water-dispenser/drinking-fountains-unchilled/g20109n_detail.html